Symbols

Batch Code

Manufacturer

Consult instructions for use

In vitro diagnostic medical device

Use by date

YYYY-MM-DD or YYYY-MM

Catalog number

Temperature limit

INSM740-16

February 4, 2022

SORBITOL DEHYDROGENASE CONTROLS

CATALOGUE NUMBER: SM-740	SIZE: 6 x 2 mL (Low)

SM-741	6 x 2 mL (High)

NOTE: Changes are highlighted.

INTENDED USE

For in vitro diagnostic use in quality control procedures to monitor the accuracy and precision of quantitative sorbitol dehydrogenase assays. For veterinary use only.

PRINCIPLE

Commercially available control sera are used to monitor the performance of clinical chemistry methods. Sorbitol Dehydrogenase Controls may be used for this purpose.

CHARACTERISTICS

The Sorbitol Dehydrogenase Controls are prepared by the addition of sorbitol dehydrogenase (mammalian) to a phosphate buffer system with bovine serum albumin added for stability. A preservative has been added to inhibit microbial growth.

WARNINGS & PRECAUTIONS FOR USE

For in vitro diagnostic use

Sorbitol Dehydrogenase Controls are for in vitro diagnostic use. Do not pipette the control by mouth and avoid contact with skin and eyes. See Safety Data Sheet for additional information.

PREPARATION, STORAGE & STABILITY

1.	Dissolve the entire contents of the Sorbitol Dehydrogenase Control with exactly 2.0 mL of deionized water.

2.	Mix gently and allow at least 5 minutes for reconstitution, swirling occasionally until completely dissolved. Avoid excessive foaming.

Sorbitol Dehydrogenase Controls are stable until the expiry date stated on the label at 2-8°C.

Reconstituted vials of controls are stable for 7 days if stored at 2-8°C. Recap and return controls to 2-8°C promptly after use.

INSTRUCTIONS FOR USE

It is recommended that a sorbitol dehydrogenase assay method outlined by the reagent manufacturer be followed while using Sorbitol Dehydrogenase Controls.

DISPOSAL

Controls must be disposed of in accordance with all Federal, Provincial, State and local regulations.

PERFORMANCE CHARACTERISTICS

NOTE: ASSIGNED VALUES ARE LOT SPECIFIC. Do not interchange lots of Sorbitol Dehydrogenase Controls with inserts of a different lot. Please refer to next page for the value assignment.

The unit definition used for the Sorbitol Dehydrogenase Controls is as follows. One unit of SDH will oxidize one micromole of NADH per minute at 37°C.

PRECISION STUDIES

Precision information is available upon request from SEKISUI Diagnostics.

TRADEMARKS

The word SEKURE and the Sekure logo are trademarks of SEKISUI Diagnostics, LLC.

All trademarks, brands, product names and trade names are the property of their respective companies.

ASSIGNED VALUES

SORBITOL DEHYDROGENASE CONTROLS

CAT. NO. SM-740

LEVEL 1, LOT

EXPIRY

CAT. NO.  SM-741

LEVEL 2, LOT

EXPIRY

SORBITOL DEHYDROGENASE ANALYSIS

| CAT. NO. | LEVEL | LOT NO. | ASSIGNED VALUE |
| --- | --- | --- | --- |
|  |  |  | U/L at 37°C |
| SM-740 | 1 (Low) |  |  |
| SM-741 | 2 (High) |  |  |

Please note that individual laboratories may not obtain results within the stated range due to variations in reagents, instruments, and techniques. It is recommended that each laboratory establish its own expected values and acceptable limits.

| The Americas SEKISUI Diagnostics P.E.I. Inc. 70 Watts Avenue Charlottetown, PE C1E 2B9 Canada Phone: 800-565-0265 Fax: 902-628-6504 Email: questions@sekisuidiagnostics.com techservices@sekisuidiagnostics.com International SEKISUI Diagnostics (UK) Limited Liphook Way Allington, Maidstone KENT, ME16 0LQ, UK Email: info@sekisuidiagnostics.com |  |
| --- | --- |
|  | sekisuidiagnostics.com |